Cable Name: AT-ETX220A-MP/CBL01

|  |  |  |
| --- | --- | --- |
| DB15 FEMALE NBZ-15S+TCTC-15 | DB9 MALE NBZ-9P+TCTC-9  RB-1 | *Note:* *Power cord’s pair* |
| 1 | 1 | *4* |
| 9 | 2 | *3* |
| 2 | 3 | *2* |
| 10 | 4 | *1* |
| 8 | 9 |  |
|  | DB9 MALE NBZ-9P+TCTC-9  RB-2 |  |
| 3 | 1 | *4* |
| 11 | 2 | *3* |
| 4 | 3 | *2* |
| 12 | 4 | *1* |
| 8 | 9 |  |

Length: 120 cm

Quantity: 1 unit

Cable type: CABLE-006

Please attach the label with Cable Name to the cable.